## Header
GUNNEDAH SALEYARDS MONITORING DATA (Environment Protection Licence 11561)
| Licensee Name: | Gunnedah Shire Council |  | Data Period / Year: | 2016/17
| Licensee Address: | PO Box 63, Gunnedah NSW 2340
| Facility Address: | Kamilaroi Highway, Gunnedah NSW 2380 |  | Data Publishing Date:
To retrieve the full licence from the EPA website, click this link.
| Locations of Monitoring Points: |  | CLICK TO VIEW MAP
Monitoring Point Data:
EPA 1
EPA 2
EPA 3
EPA 4
EPA 5
EPA 6
EPA 7
DISCHARGES
CORRECTIONS to previously published DATA (if applicable):
Corrections Log
Please contact Council's Saleyards Manager if you require any additional information relating to published monitoring data: Phone: (02) 6740 2100 Email: council@infogunnedah.com.au Mail: PO Box 63, GUNNEDAH NSW, 2380

## Monitor Point Map
EPA Licence L11561 - Map showing Monitoring Locations (Condition P1.3) | Back to Index

## EPA 1
EPA Licence L11561 - EPA Monitoring Point 1 | [5 empty] | Data Period / Year: | 2016/17
|  |  | Date Sampled | 2016-08-31 | 2016-10-26 | 2017-03-06 | 13/0//17
|  |  | Time Sampled | am | am | am | am
|  |  | Sampled By | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | QTR 1 | QTR 2 | QTR 3 | QTR 4 | MIN | AVERAGE | MAX
BOD | mg/L | Quarterly | Representative | 54 | 25 | 19 | 35 | 19 | 33.25 | 54
Conductivity | µS/cm | Quarterly | Representative | 2.14 | 1.78 | 2.1 | 1.99 | 1.78 | 2.0025 | 2.14
Faecal Coliforms | CFU / 100ml | Quarterly | Representative | 55000 | 33000 | 3800 | 5200 | 3800 | 24250 | 55000
Nitrogen (Total) | mg/L | Quarterly | Representative | 26.8 | 22.8 | 14.4 | 24.8 | 14.4 | 22.2 | 26.8
Phosphorus (Total) | mg/L | Quarterly | Representative | 19 | 18.52 | 17.2 | 25.88 | 17.2 | 20.15 | 25.88
Total Suspended Solids | mg/L | Quarterly | Representative | 69 | 27 | 16 | 69 | 16 | 45.25 | 69
pH | pH units | Quarterly | Representative | 8.7 | 8 | 8.1 | 8.1 | 8 | 8.225 | 8.7
| Data Publishing Date: | 2017-04-26 |  |  | Back to Index

## EPA 2
EPA Licence L11561 - EPA Monitoring Point 2 |  |  |  | Data Period / Year: | 2016/17
|  |  | Date Sampled | 2016-08-31 | 2017-03-06
|  |  | Time Sampled | am | am
|  |  | Sampled By | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | SAMPLING ROUND 1 | SAMPLING ROUND 2 | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | 104 | 24 | 24 | 64 | 104
Conductivity | µS/cm | Every 6 months | Representative | 2.42 | 2.14 | 2.14 | 2.28 | 2.42
Nitrogen (Total) | mg/L | Every 6 months | Representative | 74.8 | 27.4 | 27.4 | 51.1 | 74.8
Phosphorus (Total) | mg/L | Every 6 months | Representative | 27.5 | 8.41 | 8.41 | 17.955 | 27.5
Total Dissolved Solids | mg/L | Every 6 months | Representative | 2202 | 1862 | 1862 | 2032 | 2202
Total Suspended Solids | mg/L | Every 6 months | Representative | 945 | 341 | 341 | 643 | 945
| Date Publishing Date: | 2017-04-26 |  | Back to Index

## EPA 3
EPA Licence L11561 - EPA Monitoring Point 3 |  |  |  | Data Period / Year: | 2016/17
|  |  | Date Sampled | 2016-08-31 | 2017-03-06
|  |  | Time Sampled | am | am
|  |  | Sampled By | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | SAMPLING ROUND 1 | SAMPLING ROUND 2 | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | 37 | 56 | 37 | 46.5 | 56
Conductivity | µS/cm | Every 6 months | Representative | 1.94 | 1.47 | 1.47 | 1.705 | 1.94
Nitrogen (Total) | mg/L | Every 6 months | Representative | 42.8 | 17 | 17 | 29.9 | 42.8
Phosphorus (Total) | mg/L | Every 6 months | Representative | 17.4 | 12.1 | 12.1 | 14.75 | 17.4
Total Dissolved Solids | mg/L | Every 6 months | Representative | 1582 | 1048 | 1048 | 1315 | 1582
Total Suspended Solids | mg/L | Every 6 months | Representative | 81 | 56 | 56 | 68.5 | 81
| Date Publishing Date: | 2017-04-26 |  | Back to Index

## EPA 4
EPA Licence L11561 - EPA Monitoring Point 4 |  |  |  | Data Period / Year: | 2016/17
|  |  | Date Sampled | 2016-08-31 | 2017-03-06
|  |  | Time Sampled | am | am
|  |  | Sampled By | Doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | SAMPLING ROUND 1 | SAMPLING ROUND 2 | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | 3 | 4 | 3 | 3.5 | 4
Conductivity | µS/cm | Every 6 months | Representative | 0.21 | 0.23 | 0.21 | 0.22 | 0.23
Nitrogen (Total) | mg/L | Every 6 months | Representative | 3.5 | 5.5 | 3.5 | 4.5 | 5.5
Phosphorus (Total) | mg/L | Every 6 months | Representative | 1.86 | 1.12 | 1.12 | 1.49 | 1.86
Total Dissolved Solids | mg/L | Every 6 months | Representative | 274 | 108 | 108 | 191 | 274
Total Suspended Solids | mg/L | Every 6 months | Representative | 31 | 95 | 31 | 63 | 95
| Date Publishing Date: | 2017-04-26 |  | Back to Index

## EPA 5
EPA Licence L11561 - EPA Monitoring Point 5 | [13 empty] | Data Period / Year: | 2016/17
|  |  | Date Sampled | 2016-05-05 | 2016-06-16 | 2016-07-14 | 2016-08-18 | 2016-09-15 | 2016-10-13 | 2016-11-16 | 2016-12-14 | 2017-01-11 | 2017-02-08 | 2017-03-07 | 2017-04-24
Time Sampled | bar: 2016-05-05 to 2017-04-24
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | [12 empty] | (Not published to Web) | bar: 2016-06-16 to 2016-10-13; 2016-12-14 to 2017-04-24
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling |  | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | 0.69 | November: 2.7 | 0.69 | 1.695 | 2.7
Nitrate | mg/L | Every 6 months | Representative | 4 | November: 0.3 | 0.3 | 2.15 | 4
Standing Water Level | Metres | Monthly | Not specified | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575
pH | pH units | Every 6 months | Representative | 7.8 | November: 7.2 | 7.2 | 7.5 | 7.8
|  | Data Publishing Date: | 2017-04-26 |  | June: Back to Index

## EPA 6
EPA Licence L11561 - EPA Monitoring Point 6 | [13 empty] | Data Period / Year: | 2016/17
|  |  | Date Sampled | 2016-05-05 | 2016-06-16 | 2016-07-14 | 2016-08-18 | 2016-09-15 | 2016-10-13 | 2016-11-16 | 2016-12-14 | 2017-01-11 | 2017-02-08 | 2017-03-07 | 2017-04-24
Time Sampled | bar: 2016-05-05 to 2017-04-24
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | [12 empty] | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | May | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | [12 empty] | 0 | #DIV/0! | 0
Nitrate | mg/L | Every 6 months | Representative | [12 empty] | 0 | #DIV/0! | 0
Standing Water Level | Metres | Monthly | Not specified | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | 0 | #DIV/0! | 0
pH | pH units | Every 6 months | Representative | [12 empty] | 0 | #DIV/0! | 0
|  | Data Publishing Date: | 2017-04-26 | June: Back to Index

## EPA 7
EPA Licence L11561 - EPA Monitoring Point 7 | [13 empty] | Data Period / Year: | 2016/17
|  |  | Date Sampled | 2016-05-05 | 2016-06-16 | 2016-07-14 | 2016-08-18 | 2016-09-15 | 2016-10-13 | 2016-11-16 | 2016-12-14 | 2017-01-11 | 2017-02-08 | 2017-03-07
|  |  | Time Sampled | [11 empty] | am | bar: 2016-05-05 to 2017-03-07
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | [12 empty] | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | May | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | May: 2.3; November: 2.67 | 2.3 | 4.8 | 7.3
Nitrate | mg/L | Every 6 months | Representative | May: 12; November: 0.9 | 0.9 | 6.45 | 12
Standing Water Level | Metres | Monthly | Not specified | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700
pH | pH units | Every 6 months | Representative | May: 7.5; November: 7.3 | #REF! | #REF! | #REF!
|  | Data Publishing Date: | 2017-04-26 | June: Back to Index

## DISCHARGES
EPA Licence L11561 - DISCHARGES FROM EPA POINTS 1-4 |  |  | Data Period / Year: | 2016/17
MONITOR POINT | EPA 1 | EPA3 | EPA 2 | EPA 4
Units | l | kl | kl | kl
Sampling frequency required by the Licence | Continuous during discharge | Weekly | Weekly | Continuous during discharge
Type / Method of Sampling | Flow meter & continuous logger | Inspection | Inspection | Not Specified
Dates Sampled / Discharges occurred
2016-05-02 | 561317.6n | 55998 | 118319 | re zoned
2016-05-09 | 562614.4n | 56048 | 118319
2016-05-16 | 563843.4n | 56138 | 118319
2015-05-25 | 565081.4n | 56261 | 118319
2016-05-31 | 566217.8n | 56324 | 118377
2016-06-06 | 568877.9 | 56434 | 118952
2016-06-13 | 572440.3 | 56529 | 118952
2016-06-20 | 597133.6 | 56686 | 119788
2016-06-27 | 695834.8 | 56767 | 120242
2016-07-04 | 706989.7 | 56850 | 120334
2016-07-11 | 719934 | 56912 | 120497
2016-07-18 | 721105.9n | 56997 | 120497
2016-07-25 | 722205.0n | 57072 | 120576
2016-08-01 | 723316.2n | 57198 | 120576
2016-08-08 | 794347.3 | 57280 | 121348
2016-08-15 | 797276.2n | 57412 | 121348
2016-08-22 | 797614.3n | 57498 | 121348
2016-08-29 | 923528.9 | 57582 | 122534
2016-09-05 | 1056210.4 | 57646 | 123697
2016-09-12 | 1109056.4 | 57754 | 124153
2016-09-19 | 1256784.9 | 57822 | 126767
2016-09-26 | 1261784.7 | 57837 | 126807
2016-10-04 | 1263461.0n | 57924 | 126849
2016-10-10 | 1264665.6n | 58017 | 126849
2016-10-17 | 1266097.0n | 58177 | 126849
2016-10-24 | 1346118.4 | 58270 | 127799
2016-10-31 | 1372779.2 | 58415 | 127965
2016-11-07 | 1376587.3n | 58558 | 127965
2016-11-14 | 1378492.7n | 58678 | 127969
2016-11-21 | 1380036.7n | 58754 | 127969
2016-11-28 | 1381970.4n | 58886 | 127969
2016-12-05 | 1382901.6n | 58924 | 127969
2016-12-12 | 1411581.4 | 59202 | 128861
2015-12-21 | 1414166.6n | 59401 | 128861
2015-12-28 | 1511245.3 | 59496 | 129779
2017-01-02 | 1512119.6n | 59568 | 129779
2017-01-09 | 1513488.2n | 59613 | 129779
2017-01-16 | 1514922.0n | 59673 | 129779
2017-01-23 | 1514922.1n | 59817 | 129858
2017-01-30 | 1581308.6 | 59898 | 130751
2017-02-06 | 1602761.3n | 60089 | 130751
2017-02-13 | 1604391.5n | 60236 | 130751
2017-02-20 | 1606062.4n | 60352 | 130972
2017-02-27 | 1607303.2n | 60497 | 130972
2017-03-06 | 1609079.2n | 60579 | 130986
2015-03-14 | 1609830.9n | 60695 | 130986
2017-03-20 | 1610807.9 | 60785 | 131135
2017-03-27 | 1661375.4 | 60884 | 132237
2017-04-03 | 1719147.4 | 61100 | 132331
2015-04-11 | 1720916.4n | 61219 | 132332
2015-04-18 | 1723181.4n | 61303 | 132332
2017-04-24 | 1723222.2n | 61377 | 132332
Data Publishing Date: | 2017-04-26 |  |  | Back to Index

## Corrections Log
EPA Licence L11561 - Published Monitoring Data Corrections Log
Licence Monitoring Point | Sample Date | Pollutant | Original Data | Corrected Data | Date Corrected | Date Originally Published | Reason
| Data Publishing Date: | 2017-04-26 |  | Back to Index

## Compatibility Report
Compatibility Report for GSC - Saleyards - L11561 - MONITORING DATA - PUBLISHING FORMAT - FINAL V2.xls
Run on 24/04/2013 12:55
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences
This object will no longer be editable. | 1
'Header'!B1:Q36