## Header
GUNNEDAH SALEYARDS MONITORING DATA (Environment Protection Licence 11561)
| Licensee Name: | Gunnedah Shire Council |  | Data Period / Year: | 2016/17
| Licensee Address: | PO Box 63, Gunnedah NSW 2340
| Facility Address: | Kamilaroi Highway, Gunnedah NSW 2380 |  | Data Publishing Date:
To retrieve the full licence from the EPA website, click this link.
| Locations of Monitoring Points: |  | CLICK TO VIEW MAP
Monitoring Point Data:
EPA 1
EPA 2
EPA 3
EPA 4
EPA 5
EPA 6
EPA 7
DISCHARGES
CORRECTIONS to previously published DATA (if applicable):
Corrections Log
Please contact Council's Saleyards Manager if you require any additional information relating to published monitoring data: Phone: (02) 6740 2100 Email: council@infogunnedah.com.au Mail: PO Box 63, GUNNEDAH NSW, 2380

## Monitor Point Map
EPA Licence L11561 - Map showing Monitoring Locations (Condition P1.3) | Back to Index

## EPA 1
EPA Licence L11561 - EPA Monitoring Point 1 | [5 empty] | Data Period / Year: | 2020/21
|  |  | Date Sampled | 2020-09-02 | 2020-12-09 | 2021-02-17
|  |  | Time Sampled | am
|  |  | Sampled By | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | QTR 1 | QTR 2 | QTR 3 | QTR 4 | MIN | AVERAGE | MAX
BOD | mg/L | Quarterly | Representative | 39 | 70 | 50 |  | 39 | 53 | 70
Conductivity | µS/cm | Quarterly | Representative | 2.53 | 2.63 | 1.64 |  | 1.64 | 2.2667 | 2.63
Faecal Coliforms | CFU / 100ml | Quarterly | Representative | 680 | 9700 | 5100 |  | 680 | 5160 | 9700
Nitrogen (Total) | mg/L | Quarterly | Representative | 21.3 | 42.1 | 19.6 |  | 19.6 | 27.6667 | 42.1
Phosphorus (Total) | mg/L | Quarterly | Representative | 16.36 | 20 | 13.4 |  | 13.4 | 16.5867 | 20
Total Suspended Solids | mg/L | Quarterly | Representative | 27 | 503 | 95 |  | 27 | 208.3333 | 503
pH | pH units | Quarterly | Representative | 8.7 | 8.6 | 7.8 |  | 7.8 | 8.3667 | 8.7
| Data Publishing Date: | 2021-03-15 |  |  | Back to Index

## EPA 2
EPA Licence L11561 - EPA Monitoring Point 2 |  |  |  | Data Period / Year: | 2020/21
|  |  | Date Sampled | 2020-09-20 | 2021-02-17
|  |  | Time Sampled | am
|  |  | Sampled By | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | SAMPLING ROUND 1 | SAMPLING ROUND 2 | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | 114 | 13 | 13 | 63.5 | 114
Conductivity | µS/cm | Every 6 months | Representative | 3.02 | 0.99 | 0.99 | 2.005 | 3.02
Nitrogen (Total) | mg/L | Every 6 months | Representative | 66.4 | 14.2 | 14.2 | 40.3 | 66.4
Phosphorus (Total) | mg/L | Every 6 months | Representative | 29.2 | 6.55 | 6.55 | 17.875 | 29.2
Total Dissolved Solids | mg/L | Every 6 months | Representative | 2448 | 1020 | 1020 | 1734 | 2448
Total Suspended Solids | mg/L | Every 6 months | Representative | 378 | 603 | 378 | 490.5 | 603
| Date Publishing Date: | 2021-03-15 |  | Back to Index

## EPA 3
EPA Licence L11561 - EPA Monitoring Point 3 |  |  |  | Data Period / Year: | 2020/21
|  |  | Date Sampled | 2020-09-02 | 2021-02-17
|  |  | Time Sampled | am
|  |  | Sampled By | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | SAMPLING ROUND 1 | SAMPLING ROUND 2 | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | 75 | 112 | 75 | 93.5 | 112
Conductivity | µS/cm | Every 6 months | Representative | 1.97 | 1.24 | 1.24 | 1.605 | 1.97
Nitrogen (Total) | mg/L | Every 6 months | Representative | 45.4 | 24.2 | 24.2 | 34.8 | 45.4
Phosphorus (Total) | mg/L | Every 6 months | Representative | 21.17 | 9.25 | 9.25 | 15.21 | 21.17
Total Dissolved Solids | mg/L | Every 6 months | Representative | 1388 | 932 | 932 | 1160 | 1388
Total Suspended Solids | mg/L | Every 6 months | Representative | 36 | 44 | 36 | 40 | 44
| Date Publishing Date: | 2021-03-15 |  | Back to Index

## EPA 4
EPA Licence L11561 - EPA Monitoring Point 4 |  |  |  | Data Period / Year: | 2020/21
|  |  | Date Sampled | REMOVED | REMOVED
|  |  | Time Sampled | REMOVED | REMOVED
|  |  | Sampled By | REMOVED | REMOVED | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | REMOVED | REMOVED | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | REMOVED | REMOVED | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Conductivity | µS/cm | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Nitrogen (Total) | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Phosphorus (Total) | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Total Dissolved Solids | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Total Suspended Solids | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
| Date Publishing Date: | 2020-09-14 |  | Back to Index

## EPA 5
EPA Licence L11561 - EPA Monitoring Point 5 | [13 empty] | Data Period / Year: | 2020/21
|  |  | Date Sampled | 2020-05-13 | 2020-06-17 | 2020-07-15 | 2020-08-12 | 2020-09-14 | 2020-10-08 | 2003-02-17 | 2020-12-10 | 2021-01-14 | 2021-02-17
|  |  | Time Sampled | am | am | am | am | am | am | am | am | am | am | am | am
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | 02/09/20 | [11 empty] | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling |  | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | 3.24 | November: 3.79 | 3.24 | 3.515 | 3.79
Nitrate | mg/L | Every 6 months | Representative | 0.4 | November: 64.9 | 0.4 | 32.65 | 64.9
Standing Water Level | Metres | Monthly | Not specified | 3580 | 3580 | 3580 | 3580 | 3575 | 3575 | 3575 | 3575 | 3575 | 3575 |  |  | 3575 | 3577 | 3580
pH | pH units | Every 6 months | Representative | 7.4 | November: 7 | 7 | 7.2 | 7.4
|  | Data Publishing Date: | 2021-03-15 |  | June: Back to Index

## EPA 6
EPA Licence L11561 - EPA Monitoring Point 6 | [13 empty] | Data Period / Year: | 2020/21
|  |  | Date Sampled | 2020-05-13 | 2020-06-17 | 2020-07-15 | 2020-08-12 | 2020-09-02 | 2020-12-08 | 2020-11-12 | 2020-12-10 | 2020-01-14 | 2021-02-17
|  |  | Time Sampled | am | am | am | am | am
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | 02/09/20 | [11 empty] | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | May | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | 02/09/20 May: dry | 0 | #DIV/0! | 0
Nitrate | mg/L | Every 6 months | Representative | 02/09/20 May: dry | 0 | #DIV/0! | 0
Standing Water Level | Metres | Monthly | Not specified | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry |  |  | 0 | #DIV/0! | 0
pH | pH units | Every 6 months | Representative | 02/09/20 May: dry | 0 | #DIV/0! | 0
|  | Data Publishing Date: | 2021-02-17 | 02/09/20 June: Back to Index

## EPA 7
EPA Licence L11561 - EPA Monitoring Point 7 | [13 empty] | Data Period / Year: | 2020/21
|  |  | Date Sampled | 2020-05-13 | 2020-06-17 | 2020-07-15 | 2020-08-12 | 2020-09-02 | 2020-10-08 | 2020-11-12 | 2020-12-10 | 2020-01-14 | 2021-02-17
|  |  | Time Sampled | am | am | am | am | am |  | 2021-02-17
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | 02/09/20 | [11 empty] | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | May | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | 02/09/20 May: dry; 02/09/20 November: 3.81 | 7 | 7 | 7
Nitrate | mg/L | Every 6 months | Representative | 02/09/20 May: dry; 02/09/20 November: 0.14 | 0.14 | 0.14 | 0.14
Standing Water Level | Metres | Monthly | Not specified | dry | dry | dry | dry | dry | dry | dry | dry | 2700 | 2700 |  |  | 2700 | 2700 | 2700
pH | pH units | Every 6 months | Representative | 02/09/20 May: dry; 02/09/20 November: 7 | 7 | 7 | 7.9
|  | Data Publishing Date: | 2021-03-15 | 02/09/20 June: Back to Index

## DISCHARGES
EPA Licence L11561 - DISCHARGES FROM EPA POINTS 1-4 |  |  | Data Period / Year: | 2020/21
MONITOR POINT | EPA 1 | EPA 2 | EPA 3 | EPA 4
Units | l | kl | kl | kl
Sampling frequency required by the Licence | Continuous during discharge | Weekly | Weekly | Continuous during discharge
Type / Method of Sampling | Flow meter & continuous logger | Inspection | Inspection | Not Specified
Dates Sampled / Discharges occurred
2020-05-04 | 3287596.6 | 150196 | 2732 | re zoned
2020-05-11 | 3288683.1n | 150196 | 2827
2020-05-18 | 3288723.1n | 150196 | 2850
2020-05-25 | 3290788.4 | 150196 | 2944
2020-06-01 | 3591876.7n | 150196 | 3045
2020-06-08 | 3292893.4n | 150196 | 3106
2020-06-15 | 3315542.7 | 150883 | 3185
2020-06-22 | 3337308.2n | 150891 | 3276
2020-06-29 | 3385226.0n | 150891 | 3347
2020-07-06 | 3339515.6 | 150891 | 3410
2020-07-13 | 3340907.7 | 150906 | 3487
2020-07-20 | 3342106.7 | 150910 | 3535
2020-07-27 | 3343292 | 151031 | 3612
2020-08-03 | 3344686.8 | 151073 | 3708
2020-08-10 | 3368645.7 | 151612 | 3774
2020-08-17 | 3403044.1 | 151620 | 3847
2020-08-24 | 3404673.2n | 151620 | 3952
2020-08-31 | 3405680.7n | 151620 | 4042
2020-09-07 | 3406993.6n | 151620 | 4119
2020-09-14 | 3408236.1n | 151620 | 4226
2020-09-21 | 3409424.7n | 151620 | 4293
2020-09-28 | 3410326.9n | 151620 | 4362
2020-10-05 | 3411607.7 | 151620 | 4439
2020-10-12 | 3412686.2n | 151620 | 4541
2020-10-19 | 3413571.9n | 151620 | 4652
2020-10-26 | 3563780.5 | 153482 | 4755
2020-11-02 | 3614473.2 | 153492 | 4848
2020-11-09 | 3615972.2n | 153492 | 4950
2020-11-16 | 3617149.6n | 153492 | 4995
2020-11-23 | 3618793.2n | 153492 | 5083
2020-11-30 | 3619961.4n | 153492 | 5173
2020-12-07 | 3621516.3n | 153492 | 5251
2020-12-14 | 3622471.2n | 153492 | 5357
2020-12-21 | 3805310.2 | 153892 | 5386
2020-12-28 | 3998119.3 | 153964 | 5421
2021-01-04 | 4027239.4 | 154354 | 5462
2021-01-11 | 4150819.6 | 154354 | 5497
2021-01-18 | 4162330.2n | 154354 | 5539
2021-01-25 | 4184936.2 | 154354 | 5578
2021-02-01 | 4189004.6 | 154354 | 5703
2021-02-08 | 4258544.3 | 154354 | 5861
2021-02-15 | 4273074.4n | 154354 | 5960 | new flow meter on pump
2021-02-22 | 4275870.1n | 0 | 6152 | digital to stop wear
2021-03-01 | 4280832.1n | 439 | 6261
2021-03-08 | 4291010.3n | 440.6 | 6350
2021-03-15 | 4295557.3n | 553.4 | 6434
2021-03-22
2021-03-29
2021-04-05
2021-04-12
2021-04-19
2021-04-26
2021-05-03
2021-05-10 | 2021-03-15 |  |  | Back to Index
2018-04-30 | 2858937.5n | 143991 | 73526
Formulas:
MONITOR POINT = [MONITOR POINT, row above]+7

## Corrections Log
EPA Licence L11561 - Published Monitoring Data Corrections Log
Licence Monitoring Point | Sample Date | Pollutant | Original Data | Corrected Data | Date Corrected | Date Originally Published | Reason
| Data Publishing Date: |  |  | Back to Index

## Compatibility Report
Compatibility Report for GSC - Saleyards - L11561 - MONITORING DATA - PUBLISHING FORMAT - FINAL V2.xls
Run on 24/04/2013 12:55
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences
This object will no longer be editable. | 1
'Header'!B1:Q36